## Sheet1
Alternate Care Site Compliance Assessment Matrix
Program Statement:
Acuity of Patient Population:
Date of Deployment:
Duration of Care:
Facility Type: | [10 empty] | Date of Assessment:
COMPLIANCE GUIDELINES PER SERVICE AND DURATION |  | SHORT-TERM (Measured in hours or days after an event) | [5 empty] | INTERMEDIATE |  |  | LONG-TERM Permanent (> 6 months)
|  | Immediate |  |  | Temporary
1. Confirm required approval entities. 2. Determine criteria for deploying to the ACS. 3. Identify risk tolerance for each group (see the disaster, emergency, and vulnerability assessment - DEVA). 4. Select columns to the right based on duration of anticipated stay. 5. Modify compliance categories in alignment with the DEVA. |  | Immediate response measured in hours or days after an event |  |  | Temporary response in service no more than 60 days |  |  | Temporary response put into service within 90 days and intended for no more than 6 months. An extension may apply (see _________) |  |  | Permanent response intended for 6 months or longer
Service Use Type | Description of Service | Group I | Group II | Group III | Group I | Group II | Group III | Group I | Group II | Group III | Group I | Group II | Group III
Site Analysis | Building access | Triage, treat, and sustain life in response to an event. Intent is to stabilize for transfer to a compliant medical facility. Due to emergency need and limited expected duration, application of code requirements not expected. Expected use will dictate what compliance will be provided. |  |  | Per the DEVA |  |  | Per the DEVA
Site access
Parking
Perimeter security
Building Systems | Mechanical/electrical/plumbing (MEP), fire protection |  |  |  | Per the DEVA |  |  | Per the DEVA
Low-voltage/security
Patient Provisions | ADA |  |  |  | Per the DEVA |  |  | Per the DEVA
Accommodations for individuals of size
Intake/Assessment | Intake/evaluation
Triage
Patient holding
Stabilization
Donning and doffing
Emergency Services | Exam/treatment
Observation
Trauma/resuscitation
Diagnostic and Treatment | General exam/testing
Treatment
Diagnostic imaging
Nuclear medicine/radiation
Interventional radiology
Non-invasive procedure
Invasive procedure/surgery
Pre/post-procedure care
Infusion
Hyperbaric
Dialysis
Patient Support | Laboratory Services
Pharmacy services
Respiratory therapy
Inpatient Care | Critical care
Intermediate/transitional care
Medical/surgical
Protective environment (PE)
Airborne infectious isolation (AII)
Labor/delivery/recovery (LDR)
Behavioral health
Public and Administrative | Waiting
Staff support
Administrative offices
General Support | Sterile processing
Linen services
Materials management
Waste management
Environmental services
Food service
Morgue
Areas of respite
Family liaison/support
Supply receiving area
Confirmed alignment with emergency operations plan:
Group I
Patient care areas per the disaster, emergency, and vulnerability assessment (DEVA)
Support areas per the DEVA
Minimum life safety compliance per local fire marshal
Review by authority having jurisdiction (if required)
Provisions for space for supply/storage of PPE per the DEVA
Access to life-sustaining equipment per the DEVA
Ratio of hand-washing or hand sanitation stations to patient care stations per the FGI Guidelines
Essential power to select equipment or areas with distribution and system capacity to meet the needs of facility per the DEVA
Medical gas system arrangements, types, and quantities per the DEVA
Mechanical cooling and heating provisions in accordance with the DEVA
Provisions for auxiliary exhaust and filtration in accordance with the DEVA
MEP and IT systems configuration, distribution, and redundancy to meet the immediate needs of the facility based on the DEVA
MEP and IT materials selections to meet the immediate needs of the facility based on the DEVA without compromising life safety codes
Group II
For Intermediate Group 2 requirements, the minimum requirements in the FGI Outpatient Guidelines shall be met.
Relaxation of FGI Guidelines requirements based on the DEVA
All requirements in Group I plus:
Review by local AHJ/fire marshal required
Provisions for patient visual privacy per FGI
Provisions for patient acoustic privacy per the DEVA
Provisions for lighting per FGI or based on the DEVA
Full compliance to meet intent of applicable life safety codes
Meet hand-washing station requirements of FGI
Medical gas types and quantities per FGI or based on the DEVA
Electrical types and quantities per FGI or based on DEVA
Essential systems power provisions and separation of systems per FGI or the DEVA
Minimum clearances per FGI or based on the the DEVA
Finishes per FGI or based on the DEVA
Mechanical cooling and heating provisions in accordance with FGI Guidelines or the DEVA
Provisions for auxillary exhaust and filtration in accordance with FGI Guidelines or the DEVA
Lighting levels and functions per IES recommendations in patient care spaces
Minimum power and systems devices per FGI Guidelines in patient care areas and/or per the DEVA
Minimal communication capabilities for patient care (patient call system or equivalent)
Minimal voice/data communication capabilities for interface with low voltage systems
Group III
Full code compliance